06/27/06 IPG Meeting Minutes

Attendees: Carla Beaudet, Frank Ghigo, Randy McCullough, Chuck Niday, Roger Norrod, Wesley Sizemore, David Woody, and Paulette Woody

- Zone 1

  - Update on GBT Actuator Controller Covers

- D. Woody has completed construction and Beta testing is complete

- Hardware parts are on order for the replacement panels

- Countersink is being used to enhance the RFI “tightness” of the enclosure

- Shops work is pending scheduling

  - Update on SBRS and LENS (Rich Bradley) Projects

    - July cleanup planned for OVLBI trailer (Weadon, Radcliff, Langston, Chestnut)

- Carla is going to schedule

  - Update on PAPER (Don Backer, Rich Bradley) project

- Correlator was tested and modified to meet Zone 1 limits

- Testing and installation is complete

- Amplifier is scheduled for mitigation

  - Update on Zone 1 signage

- Has been completed reviewed

- Signage in buses is in need of maintenance

- There are “tent” signs in all resident hall rooms

  - 3.6 meter dish mount and Az El controller

- DC motor shield has been designed and is pending fabrication

from shops, which should be completed in about 25 days

  - GBT RFI Monitoring station

- Gimbal has been assembled

- Cable construction is in progress

- Carla is working on the rotor calibration issues

- A recommendation was made to seal up all the open cavities to prevent

bird issues

  - Need for updated MOA with Starquest group; need to bring EPO folks up to date with Zone 1 policy

- Need copy of MOU and rules

- Discussion on the location of camping sites considering onsite policy

- Discussion of the benefit of this group to NRAO

- Recommended a group of internal staff members conduct further

discussions regarding RFI/EPO concerns

- Zone 2

  - On/Off test of Jansky Lab PC’s w/spectrometer (J. Ford, R. Lacasse)

- Test is important

- Project and team incomplete due to Lacasse transfer to CV

- Discussion on how to conduct the actual testing and data evaluation

- ACTION ITEM: C. Beaudet, W. Sizemore, and F. Ghigo: To schedule

test time on the GBT or 43 M to evaluate select electronic devices.

  - Feedback on signage for visitor center, residence hall, dormitories, Hannah house

- Discussion on signage and perceived reaction from site visitors

  - Met with Rusty, Mike about florescent fixtures on site

- Meeting included C. Beaudet., R. Taylor, B. Wirt, and M. Holstine

- It is desired to have “quiet” fluorescents installed on site.

- ACTION ITEM: C. Beaudet: To test all fluorescents on site

  - ATM machine approved (via FCC test data) for tour center (less harmful emissions than “typical LC”)

- C. Beaudet checked FCC Regulations and determined device was OK.

  - RFT addendum for Summer Student Housing letter

- Discussion on letter for Summer Students

- A letter was composed to be included in the 2007 student packet

- R. Prestage to review letter

- Zone 3 and 4

  - Frontier Communications letter/attorney (Carla)

- Discussion have begun with C. Reynolds

  - Update on need for operations support/SA training

- Meeting with C. Beaudet, B. Anderson, P. Chestnut and R. Prestage

- With the move to true dynamic scheduling, coordinated calls will be

difficult at best

- Approval received for operators to call in real time

- Coordinated calling does improving observations

- PR brochure to be rewritten prior to distribution

- After brochure distribution, will have 3 month “call-up” time only

  - 2400 MHz wireless devices

- Discussion regarding increased usage and the impact on future

observations

- Concerns regarding response

  - Update on Public Awareness Campaign

- Discussion on brochure, signage and upcoming meeting

- Zone 5

  - Change in topography data interpolation to 4 point only

- To streamline processing

- Extended discussion

  - Website updated; FCC references and hyperlinks

- Site has been amended due to changes in FCC Regulations, see

http://www.gb.nrao.edu/nrqz/nrqz.html#ApplRadServ for details

- Other

  - Meeting with Andy Clegg, Assistant Spectrum Manager @ NSF

- Topics of discussion:

- Geographic Area Licensing

- NRQZ always providing comments to the FCC on requested

concurrences

- Comments on FCC Notice of Proposed Rule making

- Promotional materials

- The “one” observatory theory vs. the QZ being unique

- Changes at Sugar Grove

- Interference issues

- Attendance at the National Spectrum Management meeting,

conferences and FAS meetings

  - Provide input to enhance the NRAO mission statement to include protection of the spectrum

- Current mission statement did not address RFI issues or protection of

the spectrum

- Discussion. Primary consensus is that “quiet” is necessary.

Meeting adjourned until the next scheduled meeting of 11 JULY 2006.

11JULY06: Meeting cancelled until 08 AUGUST 2006.